{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["vystup","grafy","Hárok3"],"not_rendered":{"charts":2,"images":3,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"vystup","index":0,"n_rows":33,"n_cols":12,"rows_kept":33,"cut":false,"hidden":false,"merged":[[0,1,0,7],[0,8,0,15],[1,5,1,7],[1,8,1,10],[2,5,3,7],[2,8,3,10],[1,11,1,15],[2,11,3,15]]}
[null,null,null,null,null,null,null,null,"VÝBER MIERKY ČASOVEJ OSI GRAFU:"]
[null,"Stupeň konsolidácie U (.100%)","Časový faktor T [fixne daný]","Čas sadnutia t          [rok]","Hodnota sadnutia      [mm]","Súčiniteľ konsolidácie                     cv [m2/s]",null,null,"Výška konsolidujúcej vrstvy            h [m]",null,null,"Maximálna zadaná hodnota sadnutia  smax [mm]"]
[null,0,1.0000000000000001E-5,1E-4,{"$f":"B3*$L$3","v":0},4.9999999999999998E-8,null,null,5,null,null,50]
[null,6.3000135000675E-2,1E-3,{"$f":"((C4*$I$3^2)/$F$3)/31536000","v":1.5854895991882296E-2},{"$f":"B4*$L$3","v":3.1500067500337501}]
[null,8.7000155000775001E-2,2E-3,3.1709791983764592E-2,4.35000775003875]
[null,0.105000175000875,3.0000000000000001E-3,4.7564687975646877E-2,5.25000875004375]
[null,0.1200001800009,4.0000000000000001E-3,6.3419583967529183E-2,6.0000090000449999]
[null,0.1320001800009,5.0000000000000001E-3,7.9274479959411462E-2,6.6000090000449996]
[null,0.14100021000104998,6.0000000000000001E-3,9.5129375951293754E-2,7.0500105000524993]
[null,0.15300021000104999,7.0000000000000001E-3,0.11098427194317607,7.6500105000524998]
[null,0.16600019000095001,8.0000000000000002E-3,0.12683916793505837,8.3000095000475014]
[null,0.17500018500092498,8.9999999999999993E-3,0.14269406392694065,8.750009250046249]
[null,0.18200020000100001,0.01,0.15854895991882292,9.1000100000500002]
[null,0.237000225001125,0.02,0.31709791983764585,11.85001125005625]
[null,0.28100023000115004,0.03,0.4756468797564688,14.050011500057503]
[null,0.31500024000120003,0.04,0.63419583967529169,15.750012000060002]
[null,0.34000026000130001,0.05,0.7927447995941147,17.000013000065]
[null,0.36900026500132499,0.06,0.9512937595129376,18.450013250066249]
[null,0.39000029500147504,7.0000000000000007E-2,1.1098427194317608,19.500014750073753]
[null,0.40800033500167499,0.08,1.2683916793505834,20.400016750083751]
[null,0.43200033000165,0.09,1.4269406392694064,21.6000165000825]
[null,0.45200034000170003,0.1,1.5854895991882294,22.600017000085]
[null,0.59800029000144994,0.2,3.1709791983764588,29.900014500072498]
[null,0.68600022500112501,0.3,4.756468797564688,34.300011250056251]
[null,0.74500019500097503,0.4,6.3419583967529176,37.250009750048754]
[null,0.79200019000095001,0.5,7.9274479959411464,39.600009500047499]
[null,0.8330001400007,0.6,9.512937595129376,41.650007000034996]
[null,0.87000007500037502,0.7,11.098427194317605,43.500003750018749]
[null,0.89100008500042505,0.8,12.683916793505835,44.550004250021253]
[null,0.9120000800004,0.9,14.269406392694064,45.60000400002]
[null,0.92800005500027505,1,15.854895991882293,46.400002750013755]
[null,0.98300002000010001,2,31.709791983764585,49.150001000004998]
[null,1,3,47.564687975646876,50]

{"sheet":"grafy","index":1,"n_rows":32,"n_cols":7,"rows_kept":32,"cut":false,"hidden":false,"merged":[[3,8,3,9],[4,8,4,9],[5,8,5,9]]}
[]
[null,"T_všeob","U_0","U_0,5","U_1,0","U_5,0","U_nek"]
[null,1E-3,0,2.3E-2,3.3000000000000002E-2,6.3E-2,0.09]
[null,2E-3,0,2.5000000000000001E-2,4.3999999999999997E-2,8.6999999999999994E-2,0.11799999999999999]
[null,3.0000000000000001E-3,0,2.7E-2,5.5E-2,0.105,0.14000000000000001]
[null,4.0000000000000001E-3,0,3.1E-2,6.5000000000000002E-2,0.12,0.156]
[null,5.0000000000000001E-3,0,3.7999999999999999E-2,7.3999999999999996E-2,0.13200000000000001,0.16800000000000001]
[null,6.0000000000000001E-3,0,4.4999999999999998E-2,8.3000000000000004E-2,0.14099999999999999,0.183]
[null,7.0000000000000001E-3,0,5.2999999999999999E-2,9.1999999999999998E-2,0.153,0.19500000000000001]
[null,8.0000000000000002E-3,3.0000000000000001E-3,5.8999999999999997E-2,9.8000000000000004E-2,0.16600000000000001,0.20399999999999999]
[null,8.9999999999999993E-3,6.0000000000000001E-3,6.3E-2,0.105,0.17499999999999999,0.21199999999999999]
[null,0.01,0.01,6.8000000000000005E-2,0.111,0.182,0.222]
[null,0.02,3.6999999999999998E-2,0.11,0.153,0.23699999999999999,0.28199999999999997]
[null,0.03,6.5000000000000002E-2,0.14000000000000001,0.187,0.28100000000000003,0.32700000000000001]
[null,0.04,8.7999999999999995E-2,0.16800000000000001,0.22,0.315,0.36299999999999999]
[null,0.05,0.106,0.19400000000000001,0.248,0.34,0.39200000000000002]
[null,0.06,0.125,0.218,0.27600000000000002,0.36899999999999999,0.42199999999999999]
[null,7.0000000000000007E-2,0.14000000000000001,0.23799999999999999,0.29699999999999999,0.39,0.44900000000000001]
[null,0.08,0.158,0.26100000000000001,0.318,0.40799999999999997,0.47499999999999998]
[null,0.09,0.18099999999999999,0.28299999999999997,0.34,0.432,0.498]
[null,0.1,0.20499999999999999,0.311,0.36399999999999999,0.45200000000000001,0.52]
[null,0.2,0.38,0.48099999999999998,0.52500000000000002,0.59799999999999998,0.65600000000000003]
[null,0.3,0.51500000000000001,0.58299999999999996,0.63300000000000001,0.68600000000000005,0.73099999999999998]
[null,0.4,0.60599999999999998,0.65800000000000003,0.70499999999999996,0.745,0.78400000000000003]
[null,0.5,0.68300000000000005,0.73199999999999998,0.77700000000000002,0.79200000000000004,0.83]
[null,0.6,0.747,0.78400000000000003,0.81799999999999995,0.83299999999999996,0.86099999999999999]
[null,0.7,0.80400000000000005,0.83099999999999996,0.85299999999999998,0.87,0.88500000000000001]
[null,0.8,0.84399999999999997,0.86,0.875,0.89100000000000001,0.90800000000000003]
[null,0.9,0.87,0.88,0.90300000000000002,0.91200000000000003,0.92800000000000005]
[null,1,0.88700000000000001,0.89900000000000002,0.91900000000000004,0.92800000000000005,0.93899999999999995]
[null,2,0.96799999999999997,0.97199999999999998,0.97899999999999998,0.98299999999999998,0.98699999999999999]
[null,3,1,1,1,1,1]

{"sheet":"Hárok3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}